## sheet1
| tag_EN | 风轮锁工作异常
rece_time | rece_time
realdata | realdata
wtid | wtid | 1
real_time | real_time | 1
机组运行模式 | giWindTurbineOperationMode | 1
电网有功功率 | grGridActivePower | 1
发电机转速1 | grGeneratorSpeed1 | 1
风速 | grWindSpeed
风向对北角度 | grWindDirctionToNorth
桨叶角度1A | grPitchAngle1A
grPitchAnge1B | grPitchAnge1B
桨叶角度2A | grPitchAngle2A
grPitchAnge2B | grPitchAnge2B
桨叶角度3A | grPitchAngle3A
grPitchAnge3B | grPitchAnge3B
机舱振动Y1 | grNacelleVibrationY1
机舱振动Y2 | grNacelleVibrationY2
机舱振动X1 | grNacelleVibrationX1
机舱振动X2 | grNacelleVibrationX2
塔基控制柜温度 | grTowerBaseCabinetTemperture
塔基温度 | grTowerBaseTemperature
机舱控制柜温度 | grNacelleCabinetTemperture
机舱温度 | grNacelleTemperture
机舱对北角度 | grNacellePositionToNorth
电机1温度 | grPitchMotorTemperture1
电机2温度 | grPitchMotorTemperture2
电机3温度 | grPitchMotorTemperture3
grPitchBackupPowerCabinetTemperture1 | grPitchBackupPowerCabinetTemperture1
grPitchBackupPowerCabinetTemperture2 | grPitchBackupPowerCabinetTemperture2
grPitchBackupPowerCabinetTemperture3 | grPitchBackupPowerCabinetTemperture3
轴1箱温度 | grPitchDriverCabinetTemperture1
轴2箱温度 | grPitchDriverCabinetTemperture2
轴3箱温度 | grPitchDriverCabinetTemperture3
轮毂温度 | grHubTemperture
齿轮箱前轴承温度 | grGearboxHubSideBearingT
齿轮箱后轴承温度 | GearboxGeneratorSideBearingT
齿轮箱主轴承温度 | grGearboxMainBearingT
齿轮箱油温 | grGearBoxOilTemperture
发电机前轴承温度 | grGeneratorGearbox
发电机后轴承温度 | grGeneratorNacelle
发电机绕组温度1 | WindingTemperature1
发电机绕组温度2 | WindingTemperature2
发电机绕组温度3 | WindingTemperature3
发电机绕组温度4 | WindingTemperature4
发电机绕组温度5 | WindingTemperature5
发电机绕组温度6 | WindingTemperature6
室外温度 | grOutdoorTemperature
塔基变压器温度 | grTransformerTemperture
机组当天发电量 | grWindTurbineEnergyOutputDay
机组总发电量 | grWindTurbineEnergyOutputAll
机组当天可利用率 | WindTurbineAvailableRateDay
电网电压L1 | grGridVoltageL1
电网电压L2 | grGridVoltageL2
电网电压L3 | grGridVoltageL3
电网频率 | grGridFrequence
电网电流L1 | grGridCurrentL1
电网电流L2 | grGridCurrentL2
电网电流L3 | grGridCurrentL3
机组故障模式 | giWindTurbineErrorMode
功率设定值 | grPowerSetPoint
叶轮转速1 | grRotorSpeed1 | 1
叶轮转速2 | grRotorSpeed2 | 1
grTempWaterGearCooling_1sec | grTempWaterGearCooling_1sec
TurbineStatus | TurbineStatus
entercount | entercount
EnterType | EnterType
reserved1 | reserved1
reserved2 | reserved2
reserved3 | reserved3
reserved4 | reserved4
reserved5 | reserved5
reserved6 | reserved6
reserved7 | reserved7
reserved8 | reserved8
reserved9 | reserved9
reserved10 | reserved10
机组偏航模式 | giWindTurbineYawMode
机组总运行时间 | grWindTurbineRunTimeAll
grWindTurbineRunTimeDay | grWindTurbineRunTimeDay
机组当天运行时间 | WindTurbineAvailableTimeDay
机组当天故障时间 | grWindTurbineErrorTimeDay
机组总用电量 | grWindTurbineEneryConsumeDay
机组总可利用率 | WindTurbineAvailableRateAll
桨叶角度1B | grPitchAngle1B
桨叶角度2B | grPitchAngle2B
桨叶角度3B | grPitchAngle3B
变桨角度设定值1 | grPitchAngleSetPoint1
变桨角度设定值2 | grPitchAngleSetPoint2
变桨角度设定值3 | grPitchAngleSetPoint3
桨叶1变桨速度 | grPitchSpeed1
桨叶2变桨速度 | grPitchSpeed2
桨叶3变桨速度 | grPitchSpeed3
桨叶1电机电流 | grPitchMotorCurrent1
桨叶2电机电流 | grPitchMotorCurrent2
桨叶3电机电流 | grPitchMotorCurrent3
电池箱1温度 | PowerCabinetTemperture1
电池箱2温度 | PowerCabinetTemperture2
电池箱3温度 | PowerCabinetTemperture3
DriverCabinetTemperture1 | DriverCabinetTemperture1
DriverCabinetTemperture2 | DriverCabinetTemperture2
DriverCabinetTemperture3 | DriverCabinetTemperture3
齿轮箱油位 | grGearboxOilLevel
A1口压力 | grGearboxOilPressureA1
A2口压力 | grGearboxOilPressureA2
A3口压力 | grGearboxOilPressureA3
A4口压力 | grGearboxOilpressureA4
储能罐压力 | grGearboxEnergyTankPressure
液压系统压力 | grHydraulicSystemPressure
偏航压力 | grHydraulicYawBrakePressure
主轴刹车压力 | HydraulicRotorBrakePressure
发电机水泵进水压力 | grGeneratorWaterPressureIn
发电机水泵出水压力 | grGeneratorWaterPressureOut
发电机水泵进水温度 | GeneratorWaterTemperatureIn
发电机水泵出水温度 | WaterTemperatureOut
扭缆角度 | grYawTwistPosition
风向 | grWindDirction
大气压力 | grAirPressure
空气密度 | grAirDensity
发电机转速2 | grGeneratorSpeed2 | 1
变频器发电机转速 | grConverterGeneratorSpeed
电网无功功率 | grGridReactivePower
变频器机侧电压 | GeneratorSideVoltage
变频器直流母排电压 | grConverterGridVoltage
功率模块温度 | PowerModuleTemperture
CoolingWaterTemperture | CoolingWaterTemperture
变频器CP剩余能力 | grConverterCP
降功率转速设定值 | PowerReductionTorqueSetpoint
变频器合闸 | gbConverterReadyOn
变频器运行 | gbConverterReadyRun
低穿信号 | gbLVRTActived
齿轮箱油泵1高速 | gbGearboxPumpHighSpeedOn1
齿轮箱油泵2高速 | gbGearboxPumpHighSpeedOn2
齿轮箱油泵1低速 | gbGearboxPumpLowerSpeedOn1
齿轮箱油泵2低速 | gbGearboxPumpLowerSpeedOn2
齿轮箱加热器 | gbGearboxBypasspumpOn
齿轮箱旁通泵 | gbGearboxOilHeaterOn
齿轮箱油冷风扇 | gbGearboxOilFanOn
液压泵 | gbHydraulicPumpOn
叶轮锁定销1锁定 | gbRotorLock1Actived | 1
叶轮锁定销2锁定 | gbRotorLock2Actived | 1
叶轮锁定销1释放 | gbRotorLock1Deactived | 1
叶轮锁定销2释放 | gbRotorLock2Deactived | 1
发电机水泵 | gbGeneratorWaterPumpOn
发电机水冷风扇 | gbGeneratorWaterFanOn
发电机水加热器 | gbGeneratorWaterHeaterOn
偏航CW | gbYawCW
偏航CCW | gbYawCCW
故障编码1 | giErrorCode1
故障编码2 | giErrorCode2
故障编码3 | giErrorCode3
故障编码4 | giErrorCode4
故障编码5 | giErrorCode5
故障编码6 | giErrorCode6
故障编码7 | giErrorCode7
故障编码8 | giErrorCode8
故障编码9 | giErrorCode9
故障编码10 | giErrorCode10
故障编码11 | giErrorCode11
故障编码12 | giErrorCode12
故障编码13 | giErrorCode13
故障编码14 | giErrorCode14
故障编码15 | giErrorCode15
故障编码16 | giErrorCode16
故障编码17 | giErrorCode17
故障编码18 | giErrorCode18
故障编码19 | giErrorCode19
故障编码20 | giErrorCode20
故障编码21 | giErrorCode21
故障编码22 | giErrorCode22
故障编码23 | giErrorCode23
故障编码24 | giErrorCode24
故障编码25 | giErrorCode25
故障编码26 | giErrorCode26
故障编码27 | giErrorCode27
故障编码28 | giErrorCode28
故障编码29 | giErrorCode29
故障编码30 | giErrorCode30
grWindTurbineStandByTime | grWindTurbineStandByTime
grEneryConsumeDaily | grEneryConsumeDaily
grWindTurbineOerationTime | grWindTurbineOerationTime
grPowerProductionTime | grPowerProductionTime
grWindTurbineErrorTime | grWindTurbineErrorTime
grWindTurbineServiceTime | grWindTurbineServiceTime
grWindOKtime | grWindOKtime
grGridErrorTime | grGridErrorTime
gdiEneryOutput | gdiEneryOutput
grAvailableTime | grAvailableTime
grEneryConsume | grEneryConsume
grWindTurbineStandByTimeDaily | grWindTurbineStandByTimeDaily
grWindTurbineOerationTimeDaily | grWindTurbineOerationTimeDaily
grPowerProductionTimeDaily | grPowerProductionTimeDaily
grWindTurbineErrorTimeDaily | grWindTurbineErrorTimeDaily
grWindTurbineServiceTimeDaily | grWindTurbineServiceTimeDaily
grWindOKtimeDaily | grWindOKtimeDaily
grGridErrorTimeDaily | grGridErrorTimeDaily
grAvailableTimeDaily | grAvailableTimeDaily
grEneryOutputDaily | grEneryOutputDaily
giFirstErrorNumber | giFirstErrorNumber
grGearboxMainPumpOnTime1 | grGearboxMainPumpOnTime1
grGearboxMainPumpOnTime2 | grGearboxMainPumpOnTime2
grGearboxBypasspumpOnTime | grGearboxBypasspumpOnTime
grGearboxOilHeaterOnTime | grGearboxOilHeaterOnTime
grGearboxOilFanOnTime | grGearboxOilFanOnTime
grGeneratorWaterPumpOnTime | grGeneratorWaterPumpOnTime
grGeneratorWaterFanOnTime | grGeneratorWaterFanOnTime
grGeneratorWaterHeaterOnTime | grGeneratorWaterHeaterOnTime
grHydraulicPumpOnTime | grHydraulicPumpOnTime
grYawTime | grYawTime
grNacelleFanOnTime | grNacelleFanOnTime
giGearboxMainPumpOnTimes1 | giGearboxMainPumpOnTimes1
giGearboxMainPumpOnTimes2 | giGearboxMainPumpOnTimes2
giGearboxBypassPunpOnTimes | giGearboxBypassPunpOnTimes
giGearboxOilHeaterOnTimes | giGearboxOilHeaterOnTimes
giGearboxOilFanOnTimes | giGearboxOilFanOnTimes
giGearboxOilCoolerBypassValveTimes | giGearboxOilCoolerBypassValveTimes
giGearboxOilVolumeValveTimes | giGearboxOilVolumeValveTimes
giGeneratorWaterPumpOnTimes | giGeneratorWaterPumpOnTimes
giGeneratorWaterFanOnTimes | giGeneratorWaterFanOnTimes
giGeneratorWaterHeaterOnTimes | giGeneratorWaterHeaterOnTimes
giHydraulicPumpOnTimes | giHydraulicPumpOnTimes
giYawTimes | giYawTimes
giNacelleFanOnTimes | giNacelleFanOnTimes
grConverterTorque | grConverterTorque
grTorqueSetpoint | grTorqueSetpoint
grTorqueDemand | grTorqueDemand
grPowerDemand | grPowerDemand
grCoverterPower | grCoverterPower
grPitchPositionSetpoint | grPitchPositionSetpoint
grGeneratorSpeedSetpoint | grGeneratorSpeedSetpoint
无功功率设定值 | grReactPowerSetPoint
功率因数设定值 | grCosSetPoint
电压设定值 | grVoltageSetPoint
设定时间年 | giPLCTimeSettingYear
设定时间月 | giPLCTimeSettingMonth
设定时间日 | giPLCTimeSettingDay
设定时间小时 | giPLCTimeSettingHour
设定时间分钟 | giPLCTimeSettingMin
设定时间秒 | giPLCTimeSettings
设定时间毫秒 | giPLCTimeSettingms
设定时间周 | giPLCTimeSettingWeek
机组维护 | gbWindturbineService
远程手动偏航 | gbRemoteYawEnable
CW偏航 | gbRemoteYawCW
CCW偏航 | gbRemoteYawCCW
停机 | gbRemoteStopWindTuebine
启动 | gbRemoteStartWindTuebine
复位 | gbRemoteResetWindTuebine
功率因数设定 | gbCosSetActive
无功功率设定 | gbReactPowerSetActive
电压设定 | gbVoltageSetActive
系统时间设定 | gbPLCTimeSetActive